## OD600 reference point
| LUDOX CL-X | H2O
Replicate 1 | 0.07 | 0.04 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.066 | 0.039 | Gold cells are calculated
Replicate 3 | 0.065 | 0.038
Replicate 4 | 0.73 | 0.047
Arith. Mean | 0.23275 | 0.041
Corrected Abs600 | 0.19175 |  | Corrected value is particle-only contribution
Reference OD600 | 0.063 |  | Reference value is for 100uL of LUDOX CL-X in a well of a standard 96-well flat-bottom black with clear bottom plate
OD600/Abs600 | 0.32855 |  | Corrected value = scaling factor * measured value

## Particle standard curve
Number of Particles | 235294117.6471 | 117647058.8235 | 58823529.4118 | 29411764.7059 | 14705882.3529 | 7352941.1765 | 3676470.5882 | 1838235.2941 | 919117.6471 | 459558.8235 | 229779.4118 | 0
Replicate 1 | 0.653 | 0.335 | 0.198 | 0.123 | 0.098 | 0.072 | 0.071 | 0.059 | 0.067 | 0.07 | 0.061 | 0.053 | Enter Abs600 measurements into blue cells
Replicate 2 | 0.626 | 0.33 | 0.192 | 0.123 | 0.1 | 0.079 | 0.074 | 0.064 | 0.074 | 0.073 | 0.072 | 0.058 | Gold cells are calculated
Replicate 3 | 0.601 | 0.286 | 0.174 | 0.112 | 0.093 | 0.069 | 0.073 | 0.062 | 0.07 | 0.08 | 0.07 | 0.069
Replicate 4 | 0.652 | 0.289 | 0.17 | 0.115 | 0.092 | 0.07 | 0.072 | 0.062 | 0.071 | 0.077 | 0.074 | 0.07
Arith. Mean | 0.633 | 0.31 | 0.1835 | 0.11825 | 0.09575 | 0.0725 | 0.0725 | 0.06175 | 0.0705 | 0.075 | 0.06925 | 0.0625
Arith. Std.Dev. | 0.024725 | 0.02609 | 0.013601 | 0.0056199 | 0.0038622 | 0.0045092 | 0.001291 | 0.0020616 | 0.0028868 | 0.004397 | 0.0057373 | 0.0083467
Arith. Net Mean | 0.5705 | 0.2475 | 0.121 | 0.05575 | 0.03325 | 0.01 | 0.01 | -0.00075 | 0.008 | 0.0125 | 0.00675
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
Cospheric Monodisperse Silica Microspheres 0.961um diameter
[15 empty] | Spheres/gram | 1200000000000
[15 empty] | grams/mL | 1.8
[15 empty] | Spheres/0.55 mL | 1.188e+12
[15 empty] | Resuspend volume mL: | 2.55
[15 empty] | Dilution X: | 100
Particles / OD | [14 empty] | Total volume mL: | 255
Number of Particles | 235294117.6471 | 117647058.8235 | 58823529.4118 | 29411764.7059 | 14705882.3529 | 7352941.1765 | 3676470.5882 | 1838235.2941 | 919117.6471 | 459558.8235 | 229779.4118 |  |  |  | Particles / mL: | 4705882352.9412
Mean particles / Abs600 | 412434912.6154 | 475341651.8122 | 486144871.1716 | 527565286.2042 | 442282176.0283 | 735294117.6471 | 367647058.8235 | -2450980392.1569 | 114889705.8824 | 36764705.8824 | 34041394.3355 |  |  |  | Well volume (mL) | 0.1
Mean of med-high levels: |  | 533325620.5727 | [12 empty] | Initial particles: | 470588235.2941
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Fluorescein standard curve
Fluorescein uM | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0
Replicate 1 | 212594 | 143144 | 75702 | 51932 | 15046 | 14507 | 6015 | 2116 | 2218 | 956 | 503 | 11 | Enter fluorescence measurements into blue cells
Replicate 2 | 207613 | 139206 | 83975 | 45140 | 27009 | 13512 | 6538 | 3364 | 1741 | 884 | 453 | 11 | Gold cells are calculated
Replicate 3 | 206729 | 140268 | 83128 | 47056 | 25862 | 13138 | 6557 | 3319 | 1704 | 845 | 450 | 10
Replicate 4 | 210319 | 138747 | 81388 | 44498 | 24697 | 12754 | 6198 | 3275 | 1702 | 865 | 448 | 11 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean | 209313.75 | 140341.25 | 81048.25 | 47156.5 | 23153.5 | 13477.75 | 6327 | 3018.5 | 1841.25 | 887.5 | 463.5 | 10.75
Arith. Std.Dev. | 2667.3364 | 1974.0988 | 3723.307 | 3363.9954 | 5486.7963 | 752.7223 | 265.4594 | 602.7628 | 251.806 | 48.3632 | 26.4134 | 0.5
Arith. Net Mean | 209303 | 140330.5 | 81037.5 | 47145.75 | 23142.75 | 13467 | 6316.25 | 3007.75 | 1830.5 | 876.75 | 452.75
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
Fluorescein uM --> MEFL calculation:
[15 empty] | Initial Molarity | 1e-05
[15 empty] | Molecules / Mole | 6.0221e+23
[15 empty] | Well volume (L): | 0.0001
[15 empty] | Initial Molecules: | 602214090000000
[15 empty] | MEFL / uM | 6022140900000
Fluorescein/a.u.
Fluorescein uM | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656
uM Fluorescein/a.u. | 4.7778e-05 | 3.563e-05 | 3.085e-05 | 2.6514e-05 | 2.7006e-05 | 2.3205e-05 | 2.4738e-05 | 2.5975e-05 | 2.134e-05 | 2.2277e-05 | 2.157e-05
Mean uM fluorescein / a.u.: |  | 2.8641e-05
MEFL / a.u.: |  | 172479874.7138
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout:
Copy fluorescence and Abs600 measurements from your plate reader into blue cells
They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 0.096 | 0.09 | 0.074 | 0.102 | 0.113 | 0.092 | 0.089 | 0.089 | 0.068 | Colony 1, Replicate 1 | 0.641 | 1.063 | 0.287 | 1.153 | 0.823 | 0.863 | 0.854 | 0.358 | 0.055
Colony 1, Replicate 2 | 0.134 | 0.089 | 0.083 | 0.085 | 0.071 | 0.081 | 0.081 | 0.074 | 0.049 | Colony 1, Replicate 2 | 0.263 | 0.728 | 0.276 | 0.407 | 0.848 | 0.472 | 0.459 | 0.291 | 0.062
Colony 1, Replicate 3 | 0.076 | 0.09 | 0.076 | 0.108 | 0.096 | 0.094 | 0.087 | 0.083 | 0.064 | Colony 1, Replicate 3 | 0.375 | 0.201 | 0.142 | 0.345 | 0.31 | 0.181 | 0.176 | 0.23 | 0.048
Colony 1, Replicate 4 | 0.075 | 0.089 | 0.139 | 0.115 | 0.1 | 0.098 | 0.084 | 0.082 | 0.062 | Colony 1, Replicate 4 | 0.186 | 0.351 | 0.245 | 0.274 | 0.246 | 0.17 | 0.198 | 0.237 | 0.047
Colony 2, Replicate 1 | 0.072 | 0.08 | 0.074 | 0.08 | 0.114 | 0.107 | 0.071 | 0.063 | 0.071 | Colony 2, Replicate 1 | 0.95 | 0.999 | 0.235 | 0.78 | 1.141 | 0.85 | 0.287 | 0.5 | 0.055
Colony 2, Replicate 2 | 0.121 | 0.096 | 0.09 | 0.099 | 0.075 | 0.092 | 0.067 | 0.064 | 0.063 | Colony 2, Replicate 2 | 0.226 | 0.658 | 0.251 | 0.473 | 0.589 | 0.945 | 0.184 | 0.635 | 0.053
Colony 2, Replicate 3 | 0.09 | 0.086 | 0.073 | 0.107 | 0.093 | 0.088 | 0.073 | 0.076 | 0.061 | Colony 2, Replicate 3 | 0.185 | 0.277 | 0.175 | 0.278 | 0.382 | 0.24 | 0.164 | 0.387 | 0.061
Colony 2, Replicate 4 | 0.1 | 0.087 | 0.096 | 0.082 | 0.094 | 0.083 | 0.072 | 0.07 | 0.062 | Colony 2, Replicate 4 | 0.163 | 0.259 | 0.132 | 0.2 | 0.187 | 0.247 | 0.106 | 0.257 | 0.04
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 1678 | 3773 | 5926 | 4212 | 1663 | 6171 | 4075 | 2411 | 1414 | Colony 1, Replicate 1 | 0.267 | 0.469 | 0.212 | 0.398 | 0.388 | 0.165 | 0.279 | 0.328 | 0.043
Colony 1, Replicate 2 | 1756 | 3794 | 4189 | 4014 | 1582 | 3925 | 3264 | 3173 | 1427 | Colony 1, Replicate 2 | 0.316 | 0.16 | 0.135 | 0.199 | 0.172 | 0.24 | 0.158 | 0.172 | 0.051
Colony 1, Replicate 3 | 1714 | 4936 | 4175 | 3909 | 1544 | 3993 | 3486 | 2288 | 1472 | Colony 1, Replicate 3 | 0.295 | 0.149 | 0.118 | 0.172 | 0.171 | 0.231 | 0.161 | 0.163 | 0.06
Colony 1, Replicate 4 | 1730 | 3990 | 4097 | 3789 | 1502 | 3842 | 3513 | 2211 | 1429 | Colony 1, Replicate 4 | 0.23 | 0.159 | 0.12 | 0.188 | 0.179 | 0.197 | 0.143 | 0.168 | 0.065
Colony 2, Replicate 1 | 1592 | 3453 | 5013 | 4728 | 1591 | 5906 | 3639 | 2679 | 1447 | Colony 2, Replicate 1 | 0.345 | 0.491 | 0.255 | 0.302 | 0.314 | 0.243 | 0.245 | 0.348 | 0.066
Colony 2, Replicate 2 | 1623 | 4245 | 6069 | 448 | 1615 | 6932 | 3235 | 2563 | 1436 | Colony 2, Replicate 2 | 0.223 | 0.175 | 0.159 | 0.231 | 0.215 | 0.185 | 0.179 | 0.209 | 0.058
Colony 2, Replicate 3 | 1716 | 3394 | 5457 | 4926 | 1571 | 5676 | 3546 | 2549 | 1448 | Colony 2, Replicate 3 | 0.198 | 0.137 | 0.139 | 0.199 | 0.201 | 0.156 | 0.15 | 0.181 | 0.06
Colony 2, Replicate 4 | 1713 | 4887 | 7474 | 4271 | 1559 | 6099 | 3477 | 2484 | 1441 | Colony 2, Replicate 4 | 0.214 | 0.127 | 0.136 | 0.182 | 0.204 | 0.146 | 0.145 | 0.191 | 0.063
Assumed plate well pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 0.096 | 0.09 | 0.074 | 0.102 | 0.113 | 0.092 | 0.089 | 0.089 | 0.068
Colony 1, Replicate 2 | 0.134 | 0.089 | 0.083 | 0.085 | 0.071 | 0.081 | 0.081 | 0.074 | 0.049
Colony 1, Replicate 3 | 0.076 | 0.09 | 0.076 | 0.108 | 0.096 | 0.094 | 0.087 | 0.083 | 0.064
Colony 1, Replicate 4 | 0.075 | 0.089 | 0.139 | 0.115 | 0.1 | 0.098 | 0.084 | 0.082 | 0.062
Colony 2, Replicate 1 | 0.072 | 0.08 | 0.074 | 0.08 | 0.114 | 0.107 | 0.071 | 0.063 | 0.071
Colony 2, Replicate 2 | 0.121 | 0.096 | 0.09 | 0.099 | 0.075 | 0.092 | 0.067 | 0.064 | 0.063
Colony 2, Replicate 3 | 0.09 | 0.086 | 0.073 | 0.107 | 0.093 | 0.088 | 0.073 | 0.076 | 0.061
Colony 2, Replicate 4 | 0.1 | 0.087 | 0.096 | 0.082 | 0.094 | 0.083 | 0.072 | 0.07 | 0.062
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 1678 | 3773 | 5926 | 4212 | 1663 | 6171 | 4075 | 2411 | 1414
Colony 1, Replicate 2 | 1756 | 3794 | 4189 | 4014 | 1582 | 3925 | 3264 | 3173 | 1427
Colony 1, Replicate 3 | 1714 | 4936 | 4175 | 3909 | 1544 | 3993 | 3486 | 2288 | 1472
Colony 1, Replicate 4 | 1730 | 3990 | 4097 | 3789 | 1502 | 3842 | 3513 | 2211 | 1429
Colony 2, Replicate 1 | 1592 | 3453 | 5013 | 4728 | 1591 | 5906 | 3639 | 2679 | 1447
Colony 2, Replicate 2 | 1623 | 4245 | 6069 | 448 | 1615 | 6932 | 3235 | 2563 | 1436
Colony 2, Replicate 3 | 1716 | 3394 | 5457 | 4926 | 1571 | 5676 | 3546 | 2549 | 1448
Colony 2, Replicate 4 | 1713 | 4887 | 7474 | 4271 | 1559 | 6099 | 3477 | 2484 | 1441

## Fluorescence per OD
Unit Scaling Factors: | These are imported from the prior sheets |  |  |  | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600 / Abs600 | 0.32855 |  |  |  | Gold cells are calculated from values on other sheets
uM Fluorescein / a.u. | 2.8641e-05
Experimental Values:
uM Fluorescein / OD | [8 empty] | Net Fluorescein a.u. | [7 empty] | Net Abs 600
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 4.1653e-06 | 1.9026e-06 | 2.2545e-06 | 2.6993e-06 | 5.1078e-06 | 2.5893e-06 | 2.2912e-06 | 6.0417e-06 | 0.028 | 0.022 | 0.006 | 0.034 | 0.045 | 0.024 | 0.021 | 0.021 | 0.586 | 1.008 | 0.232 | 1.098 | 0.768 | 0.808 | 0.799 | 0.303
Colony 1, Replicate 2 | 3.6864e-05 | 5.2356e-06 | 1.385e-05 | 9.0963e-06 | 2.44e-06 | 6.8038e-06 | 7.0265e-06 | 9.5167e-06 | 0.085 | 0.04 | 0.034 | 0.036 | 0.022 | 0.032 | 0.032 | 0.025 | 0.201 | 0.666 | 0.214 | 0.345 | 0.786 | 0.41 | 0.397 | 0.229
Colony 1, Replicate 3 | 3.199e-06 | 1.4814e-05 | 1.1128e-05 | 1.2915e-05 | 1.0647e-05 | 1.9663e-05 | 1.5664e-05 | 9.1005e-06 | 0.012 | 0.026 | 0.012 | 0.044 | 0.032 | 0.03 | 0.023 | 0.019 | 0.327 | 0.153 | 0.094 | 0.297 | 0.262 | 0.133 | 0.128 | 0.182
Colony 1, Replicate 4 | 8.1529e-06 | 7.7423e-06 | 3.3901e-05 | 2.0353e-05 | 1.6646e-05 | 2.5514e-05 | 1.2701e-05 | 9.1761e-06 | 0.013 | 0.027 | 0.077 | 0.053 | 0.038 | 0.036 | 0.022 | 0.02 | 0.139 | 0.304 | 0.198 | 0.227 | 0.199 | 0.123 | 0.151 | 0.19
Colony 2, Replicate 1 | 9.74e-08 | 8.311e-07 | 1.4529e-06 | 1.0821e-06 | 3.4516e-06 | 3.9475e-06 | 0 | -1.5672e-06 | 0.001 | 0.009 | 0.003 | 0.009 | 0.043 | 0.036 | 0 | -0.008 | 0.895 | 0.944 | 0.18 | 0.725 | 1.086 | 0.795 | 0.232 | 0.445
Colony 2, Replicate 2 | 2.9226e-05 | 4.7549e-06 | 1.1887e-05 | 7.472e-06 | 1.9516e-06 | 2.8341e-06 | 2.6618e-06 | 1.4978e-07 | 0.058 | 0.033 | 0.027 | 0.036 | 0.012 | 0.029 | 0.004 | 0.001 | 0.173 | 0.605 | 0.198 | 0.42 | 0.536 | 0.892 | 0.131 | 0.582
Colony 2, Replicate 3 | 2.0387e-05 | 1.0089e-05 | 9.1761e-06 | 1.8479e-05 | 8.6902e-06 | 1.3149e-05 | 1.0156e-05 | 4.011e-06 | 0.029 | 0.025 | 0.012 | 0.046 | 0.032 | 0.027 | 0.012 | 0.015 | 0.124 | 0.216 | 0.114 | 0.217 | 0.321 | 0.179 | 0.103 | 0.326
Colony 2, Replicate 4 | 2.6932e-05 | 9.9513e-06 | 3.2216e-05 | 1.0897e-05 | 1.8976e-05 | 8.8436e-06 | 1.3208e-05 | 3.2138e-06 | 0.038 | 0.025 | 0.034 | 0.02 | 0.032 | 0.021 | 0.01 | 0.008 | 0.123 | 0.219 | 0.092 | 0.16 | 0.147 | 0.207 | 0.066 | 0.217
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 0.10274 | 0.48273 | 2.3274 | 0.68707 | 0.062916 | 3.399 | 0.98291 | 0.30495 | 264 | 2359 | 4512 | 2798 | 249 | 4757 | 2661 | 997 | 0.224 | 0.426 | 0.169 | 0.355 | 0.345 | 0.122 | 0.236 | 0.285
Colony 1, Replicate 2 | 0.10823 | 1.893 | 2.8663 | 1.5238 | 0.11167 | 1.1522 | 1.4966 | 1.2579 | 329 | 2367 | 2762 | 2587 | 155 | 2498 | 1837 | 1746 | 0.265 | 0.109 | 0.084 | 0.148 | 0.121 | 0.189 | 0.107 | 0.121
Colony 1, Replicate 3 | 0.08977 | 3.3929 | 4.0626 | 1.8968 | 0.056545 | 1.2852 | 1.7383 | 0.69061 | 242 | 3464 | 2703 | 2437 | 72 | 2521 | 2014 | 816 | 0.235 | 0.089 | 0.058 | 0.112 | 0.111 | 0.171 | 0.101 | 0.103
Colony 1, Replicate 4 | 0.15902 | 2.375 | 4.2287 | 1.6726 | 0.055821 | 1.5936 | 2.3291 | 0.66184 | 301 | 2561 | 2668 | 2360 | 73 | 2413 | 2084 | 782 | 0.165 | 0.094 | 0.055 | 0.123 | 0.114 | 0.132 | 0.078 | 0.103
Colony 2, Replicate 1 | 0.045305 | 0.41146 | 1.6448 | 1.2119 | 0.050617 | 2.1961 | 1.0675 | 0.38084 | 145 | 2006 | 3566 | 3281 | 144 | 4459 | 2192 | 1232 | 0.279 | 0.425 | 0.189 | 0.236 | 0.248 | 0.177 | 0.179 | 0.282
Colony 2, Replicate 2 | 0.098796 | 2.0929 | 3.9987 | -0.49784 | 0.099388 | 3.7725 | 1.2961 | 0.65062 | 187 | 2809 | 4633 | -988 | 179 | 5496 | 1799 | 1127 | 0.165 | 0.117 | 0.101 | 0.173 | 0.157 | 0.127 | 0.121 | 0.151
Colony 2, Replicate 3 | 0.16929 | 2.2031 | 4.4238 | 2.1812 | 0.076045 | 3.8392 | 2.0321 | 0.7932 | 268 | 1946 | 4009 | 3478 | 123 | 4228 | 2098 | 1101 | 0.138 | 0.077 | 0.079 | 0.139 | 0.141 | 0.096 | 0.09 | 0.121
Colony 2, Replicate 4 | 0.15703 | 4.6937 | 7.2043 | 2.0731 | 0.072953 | 4.8922 | 2.1644 | 0.71032 | 272 | 3446 | 6033 | 2830 | 118 | 4658 | 2036 | 1043 | 0.151 | 0.064 | 0.073 | 0.119 | 0.141 | 0.083 | 0.082 | 0.128

## Fluorescence per Particle
Unit Scaling Factors: | These are imported from the prior sheets |  |  |  | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
Particles / Abs600 | 533325620.5727 |  |  |  | Gold cells are calculated from values on other sheets
MEFL / a.u. | 172479874.7138
Experimental Values:
MEFL / particle | [8 empty] | Net Fluorescein a.u. | [7 empty] | Net Abs 600
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 1406 | 1941 | 2269 | 1840 | 1186 | 2271 | 2446 | 1728 | 0.028 | 0.022 | 0.006 | 0.034 | 0.045 | 0.024 | 0.021 | 0.021 | 0.586 | 1.008 | 0.232 | 1.098 | 0.768 | 0.808 | 0.799 | 0.303
Colony 1, Replicate 2 | 1421 | 1780 | 2245 | 1873 | 1161 | 2278 | 2338 | 1768 | 0.085 | 0.04 | 0.034 | 0.036 | 0.022 | 0.032 | 0.032 | 0.025 | 0.201 | 0.666 | 0.214 | 0.345 | 0.786 | 0.41 | 0.397 | 0.229
Colony 1, Replicate 3 | 1331 | 1741 | 2108 | 1784 | 1184 | 2060 | 2090 | 1593 | 0.012 | 0.026 | 0.012 | 0.044 | 0.032 | 0.03 | 0.023 | 0.019 | 0.327 | 0.153 | 0.094 | 0.297 | 0.262 | 0.133 | 0.128 | 0.182
Colony 1, Replicate 4 | 1375 | 1956 | 2206 | 1874 | 1182 | 2005 | 2390 | 1566 | 0.013 | 0.027 | 0.077 | 0.053 | 0.038 | 0.036 | 0.022 | 0.02 | 0.139 | 0.304 | 0.198 | 0.227 | 0.199 | 0.123 | 0.151 | 0.19
Colony 2, Replicate 1 | 1451 | 1923 | 2248 | 2123 | 1208 | 2583 | 1785 | 1583 | 0.001 | 0.009 | 0.003 | 0.009 | 0.043 | 0.036 | 0 | -0.008 | 0.895 | 0.944 | 0.18 | 0.725 | 1.086 | 0.795 | 0.232 | 0.445
Colony 2, Replicate 2 | 1482 | 1795 | 2201 | 1948 | 1312 | 2578 | 2363 | 1464 | 0.058 | 0.033 | 0.027 | 0.036 | 0.012 | 0.029 | 0.004 | 0.001 | 0.173 | 0.605 | 0.198 | 0.42 | 0.536 | 0.892 | 0.131 | 0.582
Colony 2, Replicate 3 | 1461 | 1703 | 2185 | 2019 | 1185 | 2581 | 1927 | 1428 | 0.029 | 0.025 | 0.012 | 0.046 | 0.032 | 0.027 | 0.012 | 0.015 | 0.124 | 0.216 | 0.114 | 0.217 | 0.321 | 0.179 | 0.103 | 0.326
Colony 2, Replicate 4 | 1413 | 1751 | 2196 | 1953 | 1190 | 2507 | 2166 | 1618 | 0.038 | 0.025 | 0.034 | 0.02 | 0.032 | 0.021 | 0.01 | 0.008 | 0.123 | 0.219 | 0.092 | 0.16 | 0.147 | 0.207 | 0.066 | 0.217
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 381.1552 | 1790.8711 | 8634.3245 | 2548.9736 | 233.4136 | 12610.1224 | 3646.5221 | 1131.3482 | 264 | 2359 | 4512 | 2798 | 249 | 4757 | 2661 | 997 | 0.224 | 0.426 | 0.169 | 0.355 | 0.345 | 0.122 | 0.236 | 0.285
Colony 1, Replicate 2 | 401.5097 | 7022.9203 | 10633.8461 | 5653.0222 | 414.2784 | 4274.4143 | 5552.28 | 4666.6459 | 329 | 2367 | 2762 | 2587 | 155 | 2498 | 1837 | 1746 | 0.265 | 0.109 | 0.084 | 0.148 | 0.121 | 0.189 | 0.107 | 0.121
Colony 1, Replicate 3 | 333.0378 | 12587.3369 | 15071.7622 | 7036.9342 | 209.7759 | 4767.8515 | 6448.8767 | 2562.1167 | 242 | 3464 | 2703 | 2437 | 72 | 2521 | 2014 | 816 | 0.235 | 0.089 | 0.058 | 0.112 | 0.111 | 0.171 | 0.101 | 0.103
Colony 1, Replicate 4 | 589.9681 | 8811.0508 | 15688.0555 | 6205.1584 | 207.0923 | 5911.9312 | 8640.7033 | 2455.3619 | 301 | 2561 | 2668 | 2360 | 73 | 2413 | 2084 | 782 | 0.165 | 0.094 | 0.055 | 0.123 | 0.114 | 0.132 | 0.078 | 0.103
Colony 2, Replicate 1 | 168.0776 | 1526.469 | 6101.906 | 4496.144 | 187.7832 | 8147.2339 | 3960.3494 | 1412.8875 | 145 | 2006 | 3566 | 3281 | 144 | 4459 | 2192 | 1232 | 0.279 | 0.425 | 0.189 | 0.236 | 0.248 | 0.177 | 0.179 | 0.282
Colony 2, Replicate 2 | 366.525 | 7764.4707 | 14834.978 | -1846.9572 | 368.7223 | 13995.5182 | 4808.3024 | 2413.7537 | 187 | 2809 | 4633 | -988 | 179 | 5496 | 1799 | 1127 | 0.165 | 0.117 | 0.101 | 0.173 | 0.157 | 0.127 | 0.121 | 0.151
Colony 2, Replicate 3 | 628.0608 | 8173.3123 | 16411.752 | 8092.091 | 282.1188 | 14243.2706 | 7538.9169 | 2942.7131 | 268 | 1946 | 4009 | 3478 | 123 | 4228 | 2098 | 1101 | 0.138 | 0.077 | 0.079 | 0.139 | 0.141 | 0.096 | 0.09 | 0.121
Colony 2, Replicate 4 | 582.5563 | 17413.3079 | 26727.3835 | 7691.0468 | 270.6505 | 18149.6131 | 8029.8957 | 2635.2409 | 272 | 3446 | 6033 | 2830 | 118 | 4658 | 2036 | 1043 | 0.151 | 0.064 | 0.073 | 0.119 | 0.141 | 0.083 | 0.082 | 0.128