## OD600 reference point
| LUDOX CL-X | H2O
Replicate 1 | 0.06675 | 0.033 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.059 | 0.031 | Gold cells are calculated
Replicate 3 | 0.058 | 0.033
Replicate 4 | 0.059 | 0.033
Arith. Mean | 0.060687 | 0.0325
Corrected Abs600 | 0.028188 |  | Corrected value is particle-only contribution
Reference OD600 | 0.063 |  | Reference value is for 100uL of LUDOX CL-X in a well of a standard 96-well flat-bottom black with clear bottom plate
OD600/Abs600 | 2.235 |  | Corrected value = scaling factor * measured value

## Particle standard curve
Number of Particles | 235294117.6 | 117647058.8 | 58823529.41 | 29411764.71 | 14705882.35 | 7352941.176 | 3676470.588 | 1838235.294 | 919117.6471 | 459558.8235 | 229779.4118 | 0
Replicate 1 | 1.5393 | 0.782 | 0.47 | 0.257 | 0.1585 | 0.09575 | 0.06275 | 0.044 | 0.043 | 0.03675 | 0.03525 | 0.03425 | Enter Abs600 measurements into blue cells
Replicate 2 | 1.4445 | 0.52475 | 0.28425 | 0.16 | 0.09675 | 0.06575 | 0.0495 | 0.03975 | 0.03575 | 0.03675 | 0.04175 | 0.03475 | Gold cells are calculated
Replicate 3 | 1.0955 | 0.9225 | 0.5945 | 0.44575 | 0.261 | 0.13825 | 0.08625 | 0.07075 | 0.04375 | 0.048 | 0.03875 | 0.0365
Replicate 4 | 1.611 | 1.0143 | 0.662 | 0.3885 | 0.20725 | 0.11875 | 0.079 | 0.04925 | 0.0515 | 0.04 | 0.03575 | 0.03475
Arith. Mean | 1.4226 | 0.81088 | 0.50269 | 0.31281 | 0.18088 | 0.10462 | 0.069375 | 0.050937 | 0.0435 | 0.040375 | 0.037875 | 0.035063
Arith. Std.Dev. | 0.22846 | 0.21333 | 0.16593 | 0.12893 | 0.069984 | 0.031199 | 0.016496 | 0.013768 | 0.0064388 | 0.0053092 | 0.0030104 | 0.00098689
Arith. Net Mean | 1.3875 | 0.77581 | 0.46763 | 0.27775 | 0.14581 | 0.069562 | 0.034313 | 0.015875 | 0.0084375 | 0.0053125 | 0.0028125
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
Cospheric Monodisperse Silica Microspheres 0.961um diameter
[15 empty] | Spheres/gram | 1200000000000
[15 empty] | grams/mL | 1.8
[15 empty] | Spheres/0.55 mL | 1188000000000
[15 empty] | Resuspend volume mL: | 2.55
[15 empty] | Dilution X: | 100
Particles / OD | [14 empty] | Total volume mL: | 255
Number of Particles | 235294117.6 | 117647058.8 | 58823529.41 | 29411764.71 | 14705882.35 | 7352941.176 | 3676470.588 | 1838235.294 | 919117.6471 | 459558.8235 | 229779.4118 |  |  |  | Particles / mL: | 4705882353
Mean particles / Abs600 | 169581346.1 | 151643675.3 | 125792097.1 | 105892942.2 | 100854744 | 105702658.4 | 107146683.8 | 115794349.2 | 108932461.9 | 86505190.31 | 81699346.41 |  |  |  | Well volume (mL) | 0.1
Mean of med-high levels: |  | 117977223.4 | [12 empty] | Initial particles: | 470588235.3
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Fluorescein standard curve
Fluorescein uM | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0
Replicate 1 | 47854.5 | 28536.25 | 15865.75 | 8396.5 | 4271 | 2182.25 | 1039.5 | 543.75 | 261 | 138.5 | 64.75 | 0 | Enter fluorescence measurements into blue cells
Replicate 2 | 49587 | 28900.25 | 15948.5 | 8314.75 | 4113.25 | 2106.25 | 1043.75 | 527 | 281 | 128.75 | 78.25 | 2.5 | Gold cells are calculated
Replicate 3 | 50044.75 | 29513 | 16362 | 8531.5 | 4305 | 2192 | 1078 | 544.25 | 275 | 135.25 | 77 | 5.25
Replicate 4 | 50285.75 | 29721.75 | 16338.25 | 8530 | 4316.75 | 2182.5 | 1099 | 545 | 283.75 | 140 | 74.25 | 10.25 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean | 49443 | 29167.8125 | 16128.625 | 8443.1875 | 4251.5 | 2165.75 | 1065.0625 | 540 | 275.1875 | 135.625 | 73.5625 | 4.5
Arith. Std.Dev. | 1097.9373 | 546.6449 | 258.1697 | 106.476 | 94.1862 | 39.9255 | 28.4417 | 8.6819 | 10.1394 | 4.9937 | 6.108 | 4.3922
Arith. Net Mean | 49438.5 | 29163.3125 | 16124.125 | 8438.6875 | 4247 | 2161.25 | 1060.5625 | 535.5 | 270.6875 | 131.125 | 69.0625
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
Fluorescein uM --> MEFL calculation:
[15 empty] | Initial Molarity | 1e-05
[15 empty] | Molecules / Mole | 6.0221e+23
[15 empty] | Well volume (L): | 0.0001
[15 empty] | Initial Molecules: | 602214090000000
[15 empty] | MEFL / uM | 6022140900000
Fluorescein/a.u.
Fluorescein uM | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656
uM Fluorescein/a.u. | 0.00020227 | 0.00017145 | 0.00015505 | 0.00014813 | 0.00014716 | 0.00014459 | 0.00014733 | 0.00014589 | 0.00014431 | 0.00014895 | 0.0001414
Mean uM fluorescein / a.u.: |  | 0.00015328
MEFL / a.u.: |  | 923046916
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout:
Copy fluorescence and Abs600 measurements from your plate reader into blue cells
They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 568 | 667.25 | 670.5 | 690.75 | 573.75 | 742.25 | 621.75 | 660 | 564 | Colony 1, Replicate 1 | 0.048 | 0.048 | 0.05 | 0.0465 | 0.048 | 0.05 | 0.056 | 0.06025 | 0.04475
Colony 1, Replicate 2 | 576.5 | 650.25 | 677.5 | 673.5 | 585 | 783.75 | 618.75 | 649.5 | 529.75 | Colony 1, Replicate 2 | 0.052 | 0.05075 | 0.049 | 0.047 | 0.05175 | 0.049 | 0.051 | 0.049 | 0.046
Colony 1, Replicate 3 | 592 | 656.25 | 709.25 | 647.25 | 585.5 | 746.5 | 624.5 | 643.75 | 532.5 | Colony 1, Replicate 3 | 0.054 | 0.055 | 0.05275 | 0.0485 | 0.049 | 0.047 | 0.04925 | 0.048 | 0.045
Colony 1, Replicate 4 | 562.25 | 696.5 | 707.75 | 668.25 | 605.25 | 752.25 | 611.25 | 664 | 593.5 | Colony 1, Replicate 4 | 0.052 | 0.05475 | 0.054 | 0.0555 | 0.056 | 0.049 | 0.051 | 0.049 | 0.04475
Colony 2, Replicate 1 | 556 | 628.5 | 753.25 | 668.5 | 591.25 | 722 | 585.5 | 659.25 | 553.75 | Colony 2, Replicate 1 | 0.051 | 0.049 | 0.064 | 0.05325 | 0.048 | 0.04775 | 0.048 | 0.054 | 0.051
Colony 2, Replicate 2 | 583.25 | 615.5 | 765.25 | 653.5 | 597 | 718.25 | 601.5 | 647 | 557.25 | Colony 2, Replicate 2 | 0.053 | 0.058 | 0.054 | 0.049 | 0.051 | 0.048 | 0.04975 | 0.04925 | 0.053
Colony 2, Replicate 3 | 556.25 | 661 | 757.5 | 655 | 600 | 728.25 | 599.5 | 636.25 | 554.75 | Colony 2, Replicate 3 | 0.053 | 0.049 | 0.048 | 0.047 | 0.048 | 0.051 | 0.048 | 0.05275 | 0.046
Colony 2, Replicate 4 | 603.25 | 545.75 | 770.25 | 689 | 602.75 | 730.25 | 604.75 | 638.5 | 551.75 | Colony 2, Replicate 4 | 0.05425 | 0.044 | 0.047 | 0.051 | 0.087 | 0.046 | 0.05 | 0.05475 | 0.047
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 600.75 | 3042.75 | 5353.25 | 3269.75 | 617.5 | 8812.5 | 713.5 | 1728.75 | 506.25 | Colony 1, Replicate 1 | 0.36675 | 0.374 | 0.38825 | 0.374 | 0.39525 | 0.3365 | 0.3775 | 0.367 | 0.048
Colony 1, Replicate 2 | 620.75 | 3017.75 | 5325.5 | 3227 | 645.25 | 8703 | 720.75 | 1751.5 | 513.75 | Colony 1, Replicate 2 | 0.361 | 0.357 | 0.385 | 0.3845 | 0.38875 | 0.335 | 0.39225 | 0.383 | 0.046
Colony 1, Replicate 3 | 624.25 | 3028 | 5226.5 | 3165 | 653.75 | 8662.75 | 728.5 | 1738.25 | 532.75 | Colony 1, Replicate 3 | 0.3705 | 0.35075 | 0.37975 | 0.3835 | 0.39225 | 0.344 | 0.402 | 0.40525 | 0.06925
Colony 1, Replicate 4 | 633.75 | 3004 | 5364 | 3194.25 | 670 | 8690.25 | 731.5 | 1751.75 | 543.5 | Colony 1, Replicate 4 | 0.35925 | 0.34975 | 0.379 | 0.365 | 0.3975 | 0.33725 | 0.4065 | 0.392 | 0.046
Colony 2, Replicate 1 | 600.25 | 3198.75 | 4634.5 | 3232.25 | 647.25 | 6873.5 | 640.5 | 1780.5 | 525 | Colony 2, Replicate 1 | 0.38025 | 0.36625 | 0.25075 | 0.364 | 0.34425 | 0.28025 | 0.39 | 0.37375 | 0.047
Colony 2, Replicate 2 | 614.25 | 3162.25 | 4670.5 | 3234.25 | 671.25 | 6902 | 639.5 | 1796.75 | 518.75 | Colony 2, Replicate 2 | 0.38625 | 0.37325 | 0.255 | 0.37225 | 0.357 | 0.289 | 0.36925 | 0.38475 | 0.04625
Colony 2, Replicate 3 | 593.25 | 3192.25 | 4805 | 3237 | 656.5 | 6820.25 | 654.25 | 1830.5 | 536.25 | Colony 2, Replicate 3 | 0.39125 | 0.37525 | 0.27075 | 0.3775 | 0.34825 | 0.27625 | 0.41075 | 0.40625 | 0.046
Colony 2, Replicate 4 | 616 | 3240.75 | 4725.25 | 3185.75 | 644 | 7257.75 | 632.25 | 1789 | 539.75 | Colony 2, Replicate 4 | 0.40925 | 0.40425 | 0.266 | 0.39175 | 0.341 | 0.318 | 0.41 | 0.4 | 0.046
Assumed plate well pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9

## Fluorescence per OD
Unit Scaling Factors: | These are imported from the prior sheets |  |  |  | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600 / Abs600 | 2.235 |  |  |  | Gold cells are calculated from values on other sheets
uM Fluorescein / a.u. | 0.00015328
Experimental Values:
uM Fluorescein / OD | [8 empty] | Net Fluorescein a.u. | [7 empty] | Net Abs 600
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 0.084404 | 2.1787 | 1.3912 | 4.9671 | 0.20574 | 2.3284 | 0.35204 | 0.42475 | 4 | 103.25 | 106.5 | 126.75 | 9.75 | 178.25 | 57.75 | 96 | 0.00325 | 0.00325 | 0.00525 | 0.00175 | 0.00325 | 0.00525 | 0.01125 | 0.0155
Colony 1, Replicate 2 | 0.53434 | 1.7397 | 3.3775 | 9.8582 | 0.65895 | 5.8063 | 1.2207 | 2.7374 | 46.75 | 120.5 | 147.75 | 143.75 | 55.25 | 254 | 89 | 119.75 | 0.006 | 0.00475 | 0.003 | 0.001 | 0.00575 | 0.003 | 0.005 | 0.003
Colony 1, Replicate 3 | 0.45338 | 0.84866 | 1.564 | 2.2484 | 0.90867 | 7.3379 | 1.4845 | 2.5431 | 59.5 | 123.75 | 176.75 | 114.75 | 53 | 214 | 92 | 111.25 | 0.009 | 0.01 | 0.00775 | 0.0035 | 0.004 | 0.002 | 0.00425 | 0.003
Colony 1, Replicate 4 | -0.2956 | 0.70636 | 0.84704 | 0.47686 | 0.071627 | 2.5616 | 0.19476 | 1.1376 | -31.25 | 103 | 114.25 | 74.75 | 11.75 | 158.75 | 17.75 | 70.5 | 0.00725 | 0.01 | 0.00925 | 0.01075 | 0.01125 | 0.00425 | 0.00625 | 0.00425
Colony 2, Replicate 1 | #DIV/0! | -2.5631 | 1.0524 | 3.4975 | -0.85723 | -3.5503 | -0.72579 | 2.4117 | 2.25 | 74.75 | 199.5 | 114.75 | 37.5 | 168.25 | 31.75 | 105.5 | 0 | -0.002 | 0.013 | 0.00225 | -0.003 | -0.00325 | -0.003 | 0.003
Colony 2, Replicate 2 | #DIV/0! | 0.79894 | 14.2644 | -1.6502 | -1.363 | -2.2082 | -0.93372 | -1.6413 | 26 | 58.25 | 208 | 96.25 | 39.75 | 161 | 44.25 | 89.75 | 0 | 0.005 | 0.001 | -0.004 | -0.002 | -0.005 | -0.00325 | -0.00375
Colony 2, Replicate 3 | 0.014695 | 2.4288 | 6.9522 | 6.875 | 1.5516 | 2.3797 | 1.5344 | 0.82802 | 1.5 | 106.25 | 202.75 | 100.25 | 45.25 | 173.5 | 44.75 | 81.5 | 0.007 | 0.003 | 0.002 | 0.001 | 0.002 | 0.005 | 0.002 | 0.00675
Colony 2, Replicate 4 | 0.48714 | 0.13716 | #DIV/0! | 2.3531 | 0.087438 | -12.2413 | 1.2116 | 0.76764 | 51.5 | -6 | 218.5 | 137.25 | 51 | 178.5 | 53 | 86.75 | 0.00725 | -0.003 | 0 | 0.004 | 0.04 | -0.001 | 0.003 | 0.00775
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 0.020332 | 0.53359 | 0.97693 | 0.58134 | 0.021971 | 1.9745 | 0.043135 | 0.26281 | 94.5 | 2536.5 | 4847 | 2763.5 | 111.25 | 8306.25 | 207.25 | 1222.5 | 0.31875 | 0.326 | 0.34025 | 0.326 | 0.34725 | 0.2885 | 0.3295 | 0.319
Colony 1, Replicate 2 | 0.023295 | 0.55216 | 0.9734 | 0.54969 | 0.026311 | 1.9433 | 0.040999 | 0.25188 | 107 | 2504 | 4811.75 | 2713.25 | 131.5 | 8189.25 | 207 | 1237.75 | 0.315 | 0.311 | 0.339 | 0.3385 | 0.34275 | 0.289 | 0.34625 | 0.337
Colony 1, Replicate 3 | 0.02083 | 0.60789 | 1.0367 | 0.57443 | 0.02569 | 2.0293 | 0.040343 | 0.24605 | 91.5 | 2495.25 | 4693.75 | 2632.25 | 121 | 8130 | 195.75 | 1205.5 | 0.30125 | 0.2815 | 0.3105 | 0.31425 | 0.323 | 0.27475 | 0.33275 | 0.336
Colony 1, Replicate 4 | 0.019758 | 0.55552 | 0.99274 | 0.56986 | 0.024681 | 1.9183 | 0.035764 | 0.23948 | 90.25 | 2460.5 | 4820.5 | 2650.75 | 126.5 | 8146.75 | 188 | 1208.25 | 0.31325 | 0.30375 | 0.333 | 0.319 | 0.3515 | 0.29125 | 0.3605 | 0.346
Colony 2, Replicate 1 | 0.015485 | 0.57435 | 1.3832 | 0.58568 | 0.028204 | 1.8665 | 0.023093 | 0.26351 | 75.25 | 2673.75 | 4109.5 | 2707.25 | 122.25 | 6348.5 | 115.5 | 1255.5 | 0.33325 | 0.31925 | 0.20375 | 0.317 | 0.29725 | 0.23325 | 0.343 | 0.32675
Colony 2, Replicate 2 | 0.019263 | 0.5544 | 1.3639 | 0.57124 | 0.033655 | 1.8033 | 0.025637 | 0.25892 | 95.5 | 2643.5 | 4151.75 | 2715.5 | 152.5 | 6383.25 | 120.75 | 1278 | 0.34 | 0.327 | 0.20875 | 0.326 | 0.31075 | 0.24275 | 0.323 | 0.3385
Colony 2, Replicate 3 | 0.011322 | 0.55321 | 1.3025 | 0.55871 | 0.027284 | 1.8717 | 0.022186 | 0.24638 | 57 | 2656 | 4268.75 | 2700.75 | 120.25 | 6284 | 118 | 1294.25 | 0.34525 | 0.32925 | 0.22475 | 0.3315 | 0.30225 | 0.23025 | 0.36475 | 0.36025
Colony 2, Replicate 4 | 0.014395 | 0.51704 | 1.3047 | 0.52483 | 0.024235 | 1.6938 | 0.017427 | 0.24201 | 76.25 | 2701 | 4185.5 | 2646 | 104.25 | 6718 | 92.5 | 1249.25 | 0.36325 | 0.35825 | 0.22 | 0.34575 | 0.295 | 0.272 | 0.364 | 0.354

## Fluorescence per Particle
Unit Scaling Factors: | These are imported from the prior sheets |  |  |  | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
Particles / Abs600 | 117977223.4 |  |  |  | Gold cells are calculated from values on other sheets
MEFL / a.u. | 923046916
Experimental Values:
MEFL / particle | [8 empty] | Net Fluorescein a.u. | [7 empty] | Net Abs 600
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 9629.4667 | 248560.6089 | 158714.2456 | 566676.9192 | 23471.825 | 265641.4486 | 40162.9007 | 48457.9614 | 4 | 103.25 | 106.5 | 126.75 | 9.75 | 178.25 | 57.75 | 96 | 0.00325 | 0.00325 | 0.00525 | 0.00175 | 0.00325 | 0.00525 | 0.01125 | 0.0155
Colony 1, Replicate 2 | 60961.5456 | 198481.047 | 385329.128 | 1124691.617 | 75177.8745 | 662427.0627 | 139266.162 | 312305.6723 | 46.75 | 120.5 | 147.75 | 143.75 | 55.25 | 254 | 89 | 119.75 | 0.006 | 0.00475 | 0.003 | 0.001 | 0.00575 | 0.003 | 0.005 | 0.003
Colony 1, Replicate 3 | 51724.9478 | 96821.2783 | 178436.3475 | 256513.5167 | 103667.2273 | 837161.7603 | 169365.3259 | 290137.8375 | 59.5 | 123.75 | 176.75 | 114.75 | 53 | 214 | 92 | 111.25 | 0.009 | 0.01 | 0.00775 | 0.0035 | 0.004 | 0.002 | 0.00425 | 0.003
Colony 1, Replicate 4 | -33723.8866 | 80586.5994 | 96636.2527 | 54403.6875 | 8171.6724 | 292247.2335 | 22219.9944 | 129785.3856 | -31.25 | 103 | 114.25 | 74.75 | 11.75 | 158.75 | 17.75 | 70.5 | 0.00725 | 0.01 | 0.00925 | 0.01075 | 0.01125 | 0.00425 | 0.00625 | 0.00425
Colony 2, Replicate 1 | #DIV/0! | -292419.8205 | 120067.4128 | 399021.0259 | -97799.2711 | -405039.4426 | -82803.3828 | 275141.9493 | 2.25 | 74.75 | 199.5 | 114.75 | 37.5 | 168.25 | 31.75 | 105.5 | 0 | -0.002 | 0.013 | 0.00225 | -0.003 | -0.00325 | -0.003 | 0.003
Colony 2, Replicate 2 | #DIV/0! | 91148.9206 | 1627379.87 | -188263.5968 | -155500.841 | -251930.9223 | -106525.9752 | -187253.0043 | 26 | 58.25 | 208 | 96.25 | 39.75 | 161 | 44.25 | 89.75 | 0 | 0.005 | 0.001 | -0.004 | -0.002 | -0.005 | -0.00325 | -0.00375
Colony 2, Replicate 3 | 1676.5589 | 277097.9347 | 793152.0883 | 784350.1539 | 177016.6806 | 271490.7765 | 175060.6952 | 94466.8515 | 1.5 | 106.25 | 202.75 | 100.25 | 45.25 | 173.5 | 44.75 | 81.5 | 0.007 | 0.003 | 0.002 | 0.001 | 0.002 | 0.005 | 0.002 | 0.00675
Colony 2, Replicate 4 | 55576.9651 | 15647.8834 | #DIV/0! | 268458.9991 | 9975.5256 | -1396573.591 | 138222.9698 | 87577.6698 | 51.5 | -6 | 218.5 | 137.25 | 51 | 178.5 | 53 | 86.75 | 0.00725 | -0.003 | 0 | 0.004 | 0.04 | -0.001 | 0.003 | 0.00775
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 2319.5686 | 60875.5463 | 111455.2398 | 66323.5057 | 2506.5904 | 225260.3661 | 4921.1287 | 29983.601 | 94.5 | 2536.5 | 4847 | 2763.5 | 111.25 | 8306.25 | 207.25 | 1222.5 | 0.31875 | 0.326 | 0.34025 | 0.326 | 0.34725 | 0.2885 | 0.3295 | 0.319
Colony 1, Replicate 2 | 2657.6564 | 62994.0514 | 111052.659 | 62712.8797 | 3001.7457 | 221703.1642 | 4677.4178 | 28736.1538 | 107 | 2504 | 4811.75 | 2713.25 | 131.5 | 8189.25 | 207 | 1237.75 | 0.315 | 0.311 | 0.339 | 0.3385 | 0.34275 | 0.289 | 0.34625 | 0.337
Colony 1, Replicate 3 | 2376.4005 | 69352.3641 | 118272.5484 | 65535.6261 | 2930.9503 | 231514.6348 | 4602.6644 | 28070.7193 | 91.5 | 2495.25 | 4693.75 | 2632.25 | 121 | 8130 | 195.75 | 1205.5 | 0.30125 | 0.2815 | 0.3105 | 0.31425 | 0.323 | 0.27475 | 0.33275 | 0.336
Colony 1, Replicate 4 | 2254.1444 | 63377.1474 | 113259.1919 | 65013.5217 | 2815.7287 | 218848.7448 | 4080.1693 | 27321.6114 | 90.25 | 2460.5 | 4820.5 | 2650.75 | 126.5 | 8146.75 | 188 | 1208.25 | 0.31325 | 0.30375 | 0.333 | 0.319 | 0.3515 | 0.29125 | 0.3605 | 0.346
Colony 2, Replicate 1 | 1766.6965 | 65526.2775 | 157803.6238 | 66818.1897 | 3217.7523 | 212948.7408 | 2634.5926 | 30062.613 | 75.25 | 2673.75 | 4109.5 | 2707.25 | 122.25 | 6348.5 | 115.5 | 1255.5 | 0.33325 | 0.31925 | 0.20375 | 0.317 | 0.29725 | 0.23325 | 0.343 | 0.32675
Colony 2, Replicate 2 | 2197.6071 | 63249.5102 | 155607.4246 | 65171.5143 | 3839.5852 | 205735.0186 | 2924.8946 | 29539.1358 | 95.5 | 2643.5 | 4151.75 | 2715.5 | 152.5 | 6383.25 | 120.75 | 1278 | 0.34 | 0.327 | 0.20875 | 0.326 | 0.31075 | 0.24275 | 0.323 | 0.3385
Colony 2, Replicate 3 | 1291.7152 | 63114.3177 | 148602.6744 | 63742.1131 | 3112.751 | 213531.5941 | 2531.1175 | 28108.6371 | 57 | 2656 | 4268.75 | 2700.75 | 120.25 | 6284 | 118 | 1294.25 | 0.34525 | 0.32925 | 0.22475 | 0.3315 | 0.30225 | 0.23025 | 0.36475 | 0.36025
Colony 2, Replicate 4 | 1642.3277 | 58988.0432 | 148850.4906 | 59876.0656 | 2764.9014 | 193239.8538 | 1988.2269 | 27610.3366 | 76.25 | 2701 | 4185.5 | 2646 | 104.25 | 6718 | 92.5 | 1249.25 | 0.36325 | 0.35825 | 0.22 | 0.34575 | 0.295 | 0.272 | 0.364 | 0.354